## Solar hot water log
Date | Collector temp (rough max) (F) | Tank temp (F) | BTUs generated (thousand) | kWh generated | CCF (gas) offset | $ saved by offset | Number of days since install | REC $ generated to date | Estimate of annual REC $ income | Estimate of annual offset income | Estimate of total annual income | Years to pay off purchase | Comments
[13 empty] | Estimated REC value per 1 MWh | 290
2009-02-19 |  | 48 | [10 empty] | Started install
2009-02-20 | 156 | 67 | 18 | 5.2753 | 0.17647 | 0.24706 | [6 empty] | Completed install, charged collectors at 1 pm (2 hours of sun)
2009-02-21 | 165 | 105 | 64 | 18.7565 | 0.62745 | 0.87843 | 1 | 5.4394 | 1985.3807 | 320.6275 | 2306.0081
2009-02-22 | 90 | 96 |  |  | 0 | 0 | 2 | [5 empty] | Cloudy and rainy
2009-02-23 | 161 | 103 | 111 | 32.5309 | 1.0882 | 1.5235 | 3 | 9.434 | 1147.7982 | 185.3627 | 1333.1609 | 4.7256
2009-02-24 |  | 106 | 159 | 46.5983 | 1.5588 | 2.1824 | 4 | 13.5135 | 1233.1075 | 199.1397 | 1432.2472 | 4.3987
2009-02-25 |  | 109 | 205 | 60.0796 | 2.0098 | 2.8137 | 5 | 17.4231 | 1271.8845 | 205.402 | 1477.2864 | 4.2646
2009-02-26 | 165 | 110 | 248 | 72.6816 | 2.4314 | 3.4039 | 6 | 21.0777 | 1282.225 | 207.0719 | 1489.2969 | 4.2302 | After showers, laundry,and dishes, the tank started the day at 72F, but ended at 110F!
2009-02-27 | 165 | 110 | 298 | 87.3352 | 2.9216 | 4.0902 | 7 | 25.3272 | 1320.6327 | 213.2745 | 1533.9072 | 4.1072
2009-03-10 |  |  | 598 | 175.2565 | 5.8627 | 8.2078 | 18 | 50.8244 | 1030.6056 | 166.4368 | 1197.0424 | 5.263 | Tank was at 140F when we got back after a week away!
2009-03-18 |  |  | 655 | 191.9616 | 6.4216 | 8.9902 | 26 | 55.6688 | 781.505 | 126.2085 | 907.7135 | 6.9405
2009-04-19 | 160 | 110 | 1470 | 430.8145 | 14.4118 | 20.1765 | 58 | 124.9362 | 786.2364 | 126.9726 | 913.209 | 6.8987
2009-05-20 | 160 | 144 | 2822 | 827.0466 | 27.6667 | 38.7333 | 89 | 239.8435 | 983.6278 | 158.8502 | 1142.478 | 5.5143 | 3 months, $250
2009-08-15 | 160 | 40 | 5557 | 1628.5959 | 54.4804 | 76.2725 | 176 | 472.2928 | 979.4709 | 158.1789 | 1137.6498 | 5.5377
2009-10-01 | 150 | 120 | 6347 | 1860.1221 | 62.2255 | 87.1157 | 223 | 539.4354 | 882.9324 | 142.5885 | 1025.5208 | 6.1432
2009-11-25 | 140 | 95 | 8105 | 2375.341 | 79.4608 | 111.2451 | 278 | 688.8489 | 904.4239 | 146.0592 | 1050.4831 | 5.9972
2009-12-10 | 140 | 95 | 8414 | 2465.9 | 82.4902 | 115.4863 | 293 | 715.111 | 890.8379 | 143.8652 | 1034.7031 | 6.0887
2010-01-10 |  |  | 8900 | 2608.3325 | 87.2549 | 122.1569 | 324 | 756.4164 | 852.1358 | 137.615 | 989.7508 | 6.3652
2010-02-22 | 155 | 95 | 9859 | 2889.3877 | 96.6569 | 135.3196 | 367 | 837.9224 | 833.3561 | 134.5822 | 967.9383 | 6.5087
2010-03-18 | 160 | 99 | 10532 | 3086.6245 | 103.2549 | 144.5569 | 391 | 895.1211 | 835.599 | 134.9444 | 970.5434 | 6.4912
2011-02-19 | 160 | 110 | 19777 | 5796.0666 | 193.8922 | 271.449 | 729 | 1680.8593 | 841.5825 | 135.9107 | 977.4932 | 6.4451
2012-02-19 | 160 | 110 | 30272 | 8871.8474 | 296.7843 | 415.498 | 1094 | 2572.8358 | 858.3958 | 138.6259 | 997.0218 | 6.3188
2013-02-20 | 160 | 115 | 40163 | 11770.6134 | 393.7549 | 551.2569 | 1461 | 3413.4779 | 852.7854 | 137.7199 | 990.5053 | 6.3604
2014-03-01 | 160 | 115 | 50333 | 14751.1462 | 493.4608 | 690.8451 | 1835 | 4277.8324 | 850.904 | 137.4161 | 988.32 | 6.3745

## Solar PV log
Date | Max Power W (approx) | Cumulative energy kWh | Annual average kWh | Estimate of annual REC $ income | Estimate of annual offset income | Estimate of total annual income |  | Estimated total cost per kWh from Dominion
2009-03-10 |  | 0.8 |  |  |  |  | hooked up at 4 pm | 0.13 | includes distribtion, etc
2009-03-11 | 2000 | 11.9 |  |  |  |  | cloudy
2009-03-12 |  | 17 |  |  |  |  | cloudy | Total amount saved
2009-03-13 |  | 18 |  | 635.1 | 284.7 | 919.8 | cloudy | 2768.74
2009-03-17 |  | 28 |  | 423.4 | 189.8 | 613.2 | cloudy
2009-03-18 |  | 46 |  | 608.6375 | 272.8375 | 881.475 | sunny!!!
2009-03-26 |  | 180 |  | 1190.8125 | 533.8125 | 1724.625
2009-05-20 | 2973 | 872 | 4482.8169 | 1300.0169 | 582.7662 | 1882.7831 |  | Estimated annual production for Virginia based on 4.6 sun hours per day
2009-08-15 | 3000 | 2010 | 4643.3544 | 1346.5728 | 603.6361 | 1950.2089 |  | 5544.7296
2009-10-01 | 3000 | 2569 | 4574.0732 | 1326.4812 | 594.6295 | 1921.1107
2009-12-11 | 3000 | 3036 | 4015 | 1164.35 | 521.95 | 1686.3
2010-03-10 | 3000 | 3670 | 3670 | 1064.3 | 477.1 | 1541.4 |  | Estimated annual production for California/Arizona based on 5.5 sun hours per day
2011-02-19 | 3000 | 7461 | 3830.1899 | 1110.7551 | 497.9247 | 1608.6797 |  | 6629.568
2011-03-16 | 3000 | 7729 | 3832.9959 | 1111.5688 | 498.2895 | 1609.8583 | [5 empty] | Factor from W in array to kWh per year
2011-07-21 | 3000 | 9455 | 3998.9282 | 1159.6892 | 519.8607 | 1679.5498 |  |  | 3000 W | ==> | 4000 kWh annually | 1333.3333
|  |  |  | 0 | 0 | 0
2011-12-29 | Added 6 panels for total of 22 |  |  | 0 | 0 | 0
2012-01-29 | trimmed tress that were shading it in afternoon |  |  |  | 0
2012-02-19 | 3600 | 11325 | 3841.6589 | 1114.0811 | 499.4157 | 1613.4967 | Avg doesn't really work any more since we installed more panels in Dec 2011
2012-03-12 | 3900 | 11642 | 3870.0638 | 1122.3185 | 503.1083 | 1625.4268
2013-03-12 | 3900 | 16564 | 4132.5085 | 1198.4275 | 537.2261 | 1735.6536 |  | 4941.1757 | 4000 W | ==> | 4900 kWh annually | 1225
2014-03-13 | 4000 | 21298 | 4250.2843 | 1232.5824 | 552.537 | 1785.1194
|  |  |  | 0 | 0 | 0
|  |  |  | 0 | 0 | 0
|  |  |  | 0 | 0 | 0
|  |  |  | 0 | 0 | 0
|  |  |  | 0 | 0 | 0
|  |  |  | 0 | 0 | 0
|  |  |  | 0 | 0 | 0
|  |  |  | 0 | 0 | 0
|  |  |  | 0 | 0 | 0
|  |  |  | 0 | 0 | 0
|  |  |  | 0 | 0 | 0
|  |  |  | 0 | 0 | 0
|  |  |  | 0 | 0 | 0
|  |  |  | 0 | 0 | 0
|  |  |  | 0 | 0 | 0
|  |  |  | 0 | 0 | 0
|  |  |  | 0 | 0 | 0
|  |  |  | 0 | 0 | 0
|  |  |  | 0 | 0 | 0
|  |  |  | 0 | 0 | 0
|  |  |  | 0 | 0 | 0
|  |  |  | 0 | 0 | 0
|  |  |  | 0 | 0 | 0
|  |  |  | 0 | 0 | 0

## Web log
Date | Hits
2009-03-09 |  | Goes live
2009-03-10 | 100
2009-03-11 | 250
2009-03-13 | 304
2009-03-17 | 353
2009-04-17 | 425
2009-05-19 | 500
2009-08-15 | 725
2009-10-09 | 997
2009-10-15 | 1016
2009-11-19 | 1166
2009-12-11 | 1249
2010-09-18 | 2074
2011-11-09 | 3527

## Dominion bills
Month | Monthly electric bill (kWh) | Bill amount ($) | Difference from previous year (kWh) | Difference from previous year(s) ($) | Amount made from solar (kWh) | Additional improvement besides solar |  | (Effective rate) |  | 1297.1667 | Average kWh per month before solar
2008-01-08 | 1349 | 181.3 |  | (negative is higher) |  |  |  | 0.1344
2008-02-08 | 1263 | 194.51 | [5 empty] | 0.15401
2008-03-08 | 997 | 183.28 | [5 empty] | 0.18383
2008-04-08 | 995 | 148.59 | [5 empty] | 0.14934 |  | 925.7805 | Average kWh per month after solar
2008-05-08 | 937 | 148.33 | [5 empty] | 0.1583
2008-06-08 | 1198 | 143.67 | [5 empty] | 0.11992
2008-07-08 | 2048 | 178.52 | [5 empty] | 0.087168
2008-08-08 | 1722 | 292.03 | [5 empty] | 0.16959
2008-09-08 | 1127 | 248.5 | [5 empty] | 0.2205
2008-10-08 | 1570 | 228.2 | [5 empty] | 0.14535
2008-11-08 | 997 | 151.68 | [5 empty] | 0.15214
2008-12-08 | 1363 | 200.56 | [5 empty] | 0.14715
2009-01-08 | 1489 | 153.5 | -140 | 27.8 |  |  |  | 0.10309
2009-02-08 | 1187 | 128.75 | 76 | 65.76 |  |  |  | 0.10847
2009-03-08 | 998 | 112.31 | -1 | 70.97 | 200 |  |  | 0.11254
2009-04-08 | 611 | 75.16 | 384 | 73.43 | 400 | -16 | <-- point we got solar
2009-05-08 | 362 | 48.9 | 575 | 99.43 | 390 | 185 |  | 0.13508
2009-06-08 | 605 | 74.53 | 593 | 69.14 | 400 | 193 |  | 0.12319
2009-07-08 | 1122 | 130.53 | 926 | 47.99 | 320 | 606 |  | 0.11634
2009-08-08 | 1117 | 127.61 | 605 | 164.42 | 390 | 215 |  | 0.11424
2009-09-08 | 1195 | 139.25 | -68 | 109.25 | 350 | -418 |  | 0.11653
2009-10-08 | 730 | 89.43 | 840 | 138.77 | 275 | 565 |  | 0.12251
2009-11-08 | 690 | 84.11 | 307 | 67.57 | 150 | 157 |  | 0.1219
2009-12-08 | 1242 | 133.54 | 121 | 67.02 | 125 | -4 |  | 0.10752
2010-01-08 | 1784 | 179.46 | -295 | -25.96 | 170 | -465 |  | 0.10059
2010-02-08 | 1378 | 144.34 | -191 | -15.59 | 250 | -441 |  | 0.10475
2010-03-08 | 868 | 101.02 | 130 | 11.29 | 380 |  |  | 0.11638
2010-04-08 | 837 | 72.14 | 158 | 76.45 | 450 |  |  | 0.086189
2010-05-08 | 778 | 25.91 | 159 | 122.42 | 420 |  |  | 0.033303
2010-06-08 | 1186 | 129.13 | 12 | 14.54 |  |  |  | 0.10888
2010-07-08 | 1742 | 187.43 | 306 | -8.91 |  |  |  | 0.10759
2010-08-08 | 1332 | 143.07 | 390 | 148.96 |  |  |  | 0.10741
2010-09-08 | 1483 | 158.97
2010-10-08 | 935 | 97.38
2010-11-08 | 709 | 78.34
2010-12-08 | 988 | 101.46
2011-01-08 | 1205 | 120.28
2011-02-08 | 1017 | 108.21
2011-03-08 | 0 | 83.57
2011-04-08 | 730 | 73.36
2011-05-08 | 625 | 60.03
2011-05-11 | 489 | 0 | 16
2011-06-13 | 1156 | 0 | 35
2011-07-12 | 1228 | 0 | 42
2011-08-11 | 1828 | 0 | 61
2011-09-09 | 1279 | 0 | 44
2011-10-10 | 938 | 0 | 30
2011-11-09 | 719 | 0 | 24
2011-12-12 | 1038 | 0 | 31
2012-01-11 | 1110 | 0 | 37
2012-02-13 | 879 | 0 | 27
2012-03-13 | 0 | 0 | 0
2012-03-13 | 538 | 0 | 19
2012-04-11 | 352 | 0 | 12 |  | 0.12478 | avg
2012-05-10 | 396 | 0 | 14
2012-06-12 | 736 | 0 | 22
2012-07-12 | 1252 | 0 | 42
2012-08-09 | 1324 | 0 | 47
2012-09-11 | 1451 | 0 | 44 |  | fall to winter (heating costs)
[8 empty] | 1 month difference (kWh) | per day | W-h | per hour | number of lights
Annual bill | 12708 | 1350.77 | post PV |  |  |  |  | 1094 | 36.4667 | 36466.6667 | 1519.4444 | 75.9722
Difference | #REF! | #REF!
kWh

## VNG bills
Date | VNG bill | CCF | Difference from previous year (negative is higher) | CCF difference (negative is higher) | Degree days |  |  |  |  | Cost per CCF | 1.5206
2007-12-01 | 299.56 | 197 |  |  | 5008 |  | Avg before solar | 136.6 | CCF per month
2008-01-11 | 394.85 | 269 |  |  | 632
2008-02-11 | 334.87 | 226 |  |  | 473 |  | Avg after solar | 103.5714
2008-03-13 | 286.9 | 182 |  |  | 268
2008-04-11 | 164.76 | 96 |  |  | 81
2008-05-19 | 69.52 | 33 |  |  | 17
2008-06-11 | 44.81 | 19
2008-07-11 | 51.72 | 20
2008-08-11 | 32.5 | 12
2008-09-11 | 48.42 | 21 |  |  | 56
2008-10-14 | 48.18 | 24 |  |  | 335
2008-11-12 | 178 | 135 |  |  | 565
2008-12-11 | 315.83 | 236 | -16.27 | -39 | still under construction these two months, so more heat used (doors/windows open, etc)
2009-01-09 | 433.15 | 319 | -38.3 | -50 | 797
2009-02-07 | 383.56 | 260 | -48.69 | -34
2009-03-09 | 311.9 | 228 | -25 | -46 | 592
2009-04-08 | 121.73 | 95 | 43.03 | 1 | 293
2009-05-11 | 31.26 | 21 | 38.26 | 12 | 70
2009-06-09 | 33.07 | 20 | 11.74 | -1
2009-07-09 | 27.51 | 16 | 24.21 | 4
2009-08-09 | 17.37 | 6 | 15.13 | 6
2009-09-09 | 17.37 | 6 | 31.05 | 15
2009-10-09 | 57.04 | 42 | -8.86 | -18 | 109
2009-11-09 | 107.81 | 80 | 70.19 | 55 | 179
2009-12-09 | 212.39 | 195 | 103.44 | 41 | 477
2010-01-09 | 380.13 | 362 | 53.02 | -43
2010-02-09 | 386.89 | 351 | -3.33 | -91
2010-03-09 | 240.36 | 206 | 71.54 | 22
2010-04-09 | 89.01 | 64 | -43.03 | 32
2010-05-09 | 38.99 | 33 | -38.26 | 0
2010-06-09 | 42.05 | 29
2010-07-09 | 38.2 | 24
2010-08-01 | 35.96 | 22 | 8.0408 | -7.4444 | -11.3201 | Average
2010-09-01 | 42.29 | 24
2010-10-21 |  | 34
2010-11-19 |  | 113
2010-12-21 |  | 312
2011-01-21 |  | 385
2011-02-18 |  | 286
2011-03-22 |  | 165
2011-04-20 |  | 114
2011-05-20 |  | 36
2011-06-21 |  | 28
2011-07-21 |  | 23
2011-08-22 |  | 25
2011-09-21 |  | 30
2011-10-21 |  | 39
2011-11-21 |  | 117
2011-12-20 |  | 168
2012-01-21 |  | 261
2012-02-21 |  | 246
2012-03-21 |  | 127
2012-04-20 |  | 65
2012-05-21 |  | 58
2012-06-20 |  | 34
2012-07-20 |  | 25
2012-08-21 |  | 29 | 1740 | RECs
2012-09-20 |  | 34 | 1740
Note on C16: Ruth Amundsen: approx

## RECs income
Date | Payment | RECs | PV (Sys 2) | hot water (Sys 1) | REC rate
2009-07-30 | 290 | 1 | 1 | 0 | 290 | 2nd QTR 09
2009-10-19 | 2900 | 10 | 1 | 9 | 290 | 3rd Q | This payment was erroneously based on our solar hot water system being 9kW instead of the 6 that it actually is…so for awhile we will be playing catch-up | Actual one-year on solar hot water | 1740
2009-08-30 | 290 | 1 | 1 | 0 | 290
2010-01-13 | 290 | 1 | 1 | 0 | 290
2010-05-13 | 570 | 2 | 1 | 1 | 285
2010-08-13 | 825 | 3 | 2 | 1 | 275
2010-11-17 | 567 | 2 | 1 | 1 | 283.5
2011-02-22 | 310 | 2 | 1 | 1 | 155
2011-05-18 | 80 | 2 | 1 | 1 | 40
2011-08-19 | 195 | 1 | 1 | 0 | 195
2011-11-02 | 6000 | 40 |  | 40 | 150 |  | 10 year upfront payment for hot water system!
2011-09-01 | 210 | 1 | 1 |  | 210
2011-10-01 | 210 | 1 | 1 |  | 210
2012-02-01 | 227.5 | 1 | 1 |  | 227.5
2012-04-01 | 205 | 1 | 1 |  | 205
2012-07-01 | 255 | 1 | 1 |  | 255
2012-09-01 | 255 | 1 | 1 |  | 255
2012-12-01 | 290 | 1 | 1 |  | 290
2013-03-01 | 300 | 1 | 1 |  | 300
2013-05-01 | 315 | 1 | 1 |  | 315
2013-11-25 | 305 | 1 | 1 |  | 305
2014-02-25 | 315 | 1 | 1 |  | 315
2014-05-29 | 300 | 1 | 1 |  | 300
2014-08-29 | 800 | 2 | 2 |  | 400
2014-11-21 | 800 | 2 | 2 |  | 400
|  |  | 27 | 54 | total
Total | 17104.5 | 81 | 4936 | 9648.5 | 14584.5
total
Annual Average |  |  | 1234 | 3216.1667 | 4450.1667

## REC Background
RECs (Renewable Energy Credits) or SRECs (Solar Renewable Energy Credits)
1 REC = 1 million W-hr, or 1 MWh of renewable energy
They are bought in this area by Sol Services for sale to Maryland and DC (we are within PJM region). Current price is about $250 to the seller (you), with a small cut also to Sol Systems and Solar Services. This price can change.
You can sign a contract (up to 5-year) to sell your installation's solar credit at this rate -- while still getting the produced electricity.
Dependong on your contract, any increase in price over $350 per REC (which is very possible) is split 50/50 between you and Sol Services.
A $150 price per REC in the spreadsheet is used --when we signed we got roughly $250 per SREC for a long time. Markets have gone down in 2011.
Inverter Efficiency | 0.96
Solar hours per day in Norfolk | 4.6
Total price paid per kWh (including distribution, taxes) | 0.093478
RECs, by the way, are much cheaper than SRECs, because wind power is substantially cheaper than solar right now
As of July 2011, Maryland and DC are closed to out of state systems, so Virginia households can only sell into Pennsylvania

## water bills
| HRUBS bill amount | Water usage (CCF)
2008-03-08 | 87.97 | 7
2008-04-08 | 147.36 | 14 | Savings is due to rainwater cistern installed ~Feb 09
2008-05-08 | 131.36 | 11
2008-06-08 | 146.54 | 14
2008-07-08 | 225.33 | 23
2008-08-08 | 119.08 | 10
2008-09-08 | 182.18 | 17
2008-10-08 | 135.81 | 12
2008-11-08 | 161.34 | 15
2008-12-08 | 111.13 | 9
2009-01-08 | 96.02 | 7
2009-02-08 | 100.69 | 8
2009-03-08 | 102.35 | 8
2009-04-08 | 91.91 | 7
2009-05-08 | 119.08 | 10
2009-06-08 | 108.66 | 8
2009-07-08 | 142.23 | 11
2009-08-08 | 143.45 | 11
2009-09-08 | 117.97 | 8
2009-10-08 | 105.21 | 7
2009-11-08
2009-12-08
2010-01-08
2010-02-08
2010-03-08
2010-04-08
2010-05-08
2010-06-08
2010-07-08
2010-08-08
2010-09-08
2010-10-08
2010-11-08
2010-12-08
2011-01-08
2011-02-08
2011-03-08
2011-04-08
2011-05-08
2011-06-08
2011-07-08
2011-08-08
2011-09-08
2011-10-08
2011-11-08
2011-12-08
2012-01-08
2012-02-08
2012-03-08
2012-04-08
2012-05-08
2012-06-08
2012-07-08
2012-08-08
2012-09-08
2012-10-08
2012-11-08
2012-12-08

## cost summary
In round numbers: |  |  |  | For Patrick's project
System for private residence (or commercial) |  |  |  | Co-op | Contractor
This solar PV system cost: | 30000 |  | Number of panels | 20 | 20
Federal tax credit | 9000
REC income per year | 1575 | 4-5 RECs per year |  | 10000 | 17000
Electricity offset income per year | 715 |  |  | 3000 | 5100
Years to pay off investment | 9.1703 |  | depreciation | 2000 | 5100 | Accelerated depreciation
|  |  | out of pocket after first year | 5000 | 6800
Equivalent to 14% tax-free investment!!
Note: Your numbers if you install today will be different since the local SREC market is depressed |  |  | Annual income
|  |  | SRECs | 196.875 | 196.875
This solar hot water system cost | 9000 |  | Elec | 1072.5 | 1072.5
Federal tax credit | 2700
REC income per year | 1500 | 6 RECs per year | annual income | 1269.375 | 1269.375
NG offset income per year | 300
Years to pay off investment | 3.5 |  | years to pay off | 3.9389 | 5.357
With state tax renewable energy rebates:
Solar PV | 30000
Federal + state tax credit | 15000
REC income per year | 1575 | 4-5 RECs per year
Electricity offset income per year | 715
Years to pay off investment | 6.5502
Sample solar hot water system cost | 9000
Federal + state tax credit | 4700
REC income per year | 1500 | 6 RECs per year
NG offset income per year | 300
Years to pay off investment | 2.3889
System for non-profit
Sample solar PV system cost: | 30000
Federal tax credit | 0
REC income per year | 1575 | 4-5 RECs per year
Electricity offset income per year | 715
Years to pay off investment | 13.1004 | (if no incentives)
These spreadsheets and more available at http://the-mcelroys.com/
Check Web links on 'financing' sheet for financing available, and state/federal incentives
Our systems:
PV Costs
16 PV panels purchased in 2009 | 30000
6 additional panels in 2011 | 9000
Total | 39000
PV Income 2009-2013
Tax credits | 11700
Electricity savings (20 MWh) | 2400
SRECS | 4900
Total | 19000
I.e. we made 50% on our investment in 4 years!
Hot water system costs
Purchase in 2009 | 9000
Total | 9000
PV Income 2009-2013
Tax credits | 2700
Natural gas savings | 528
SRECS | 9600
Total | 12828
I.e. we more than paid off our system in 3 years!
Note: Your numbers if you install today will be different since the local SREC market is depressed
If you want to have an SREC market to encourage solar installation, get the Virginia Legislature to create a Renewable Portfolio Standard similar to nieghboring states
Our systems:
PV Costs
16 PV panels purchased in 2009 | 30000
6 additional panels in 2011 | 9000
Total | 39000
PV Income 2009-2013
Tax credits | 11700
Electricity savings (20 MWh) | 2400
SRECS | 4900
Total | 19000
I.e. we made 50% on our investment in 4 years!
Hot water system costs
Purchase in 2009 | 9000
Total | 9000
PV Income 2009-2013
Tax credits | 2700
Natural gas savings | 528
SRECS | 9600
Total | 12828
I.e. we more than paid off our system in 3 years!
Note: Your numbers if you install today will be different since the local SREC market is depressed
If you want to have an SREC market to encourage solar installation, get the Virginia Legislature to create a Renewable Portfolio Standard similar to nieghboring states

## short cost summary
Solar payback times
PV solar system for residential (or commercial) |  | Can now be installed for $3/W | Co-operative install at $1.50/W (http://suntern.wordpress.com/ see 2-6-12 blog)
Our 3kW solar PV system cost in 2009 ($10/W) | 30000 | 9000 | 4500
Federal tax credit (30%) | 9000 | 2700 | 1350
remainder | 21000 | 6300 | 3150
SREC income per year (4-5 SRECs per year: VA 2009 market $250/MWhr, DC $400/MWh, VA now $80/MWhr in PA) | 1575 | 320 | 160
Electricity offset income per year | 715 | 715 | 715
Total annual income | 2290 | 1035 | 875
Years to pay off investment (depends on SREC market) | 9.1703 | 6.087 | 3.6
Equivalent to 9% tax-free investment!! Plus, if you sell your house, you should make this back dollar for dollar.
You can do a Solar Partnership agreement with Dominion where they pay you $0.15/kWh, but then you cannot sell the SRECs
Solar hot water
Our solar hot water system cost in 2009 | 9000
Federal tax credit (30%) | 2700
remainder | 6300
SREC income per year (current market is lower) | 1500 | 6 RECs per year
NG offset income per year | 300
Total annual income | 1800
Years to pay off investment | 3.5
(We paid off in 2.5 years due to upfront payment for SRECs!)
These spreadsheets and more available at http://www.the-mcelroys.com/, with info on financing and incentives
Note: Your numbers if you install today will be different since the local SREC market is depressed
Solar payback times
PV solar system for residential (or commercial) |  | Can now be installed for $3/W | Co-operative install at $1.50/W (http://suntern.wordpress.com/ see 2-6-12 blog)
Our 3kW solar PV system cost in 2009 ($10/W) | 30000 | 9000 | 4500
Federal tax credit (30%) | 9000 | 2700 | 1350
remainder | 21000 | 6300 | 3150
SREC income per year (4-5 SRECs per year: VA 2009 market $250/MWhr, DC $400/MWh, VA now $80/MWhr in PA) | 1575 | 320 | 160
Electricity offset income per year | 715 | 715 | 715
Total annual income | 2290 | 1035 | 875
Years to pay off investment (depends on SREC market) | 9.1703 | 6.087 | 3.6
Equivalent to 9% tax-free investment!! Plus, if you sell your house, you should make this back dollar for dollar.
You can do a Solar Partnership agreement with Dominion where they pay you $0.15/kWh, but then you cannot sell the SRECs
Solar hot water | 0 | 0 | 0
Our solar hot water system cost in 2009 | 9000 | 0 | 0
Federal tax credit (30%) | 2700 | 0 | 0
remainder | 6300 | 0 | 0
0 | 0 | 0 | 0
SREC income per year (current market is lower) | 1500 | 6 RECs per year | 0
NG offset income per year | 300 | 0 | 0
Total annual income | 1800 | 0 | 0
Years to pay off investment | 3.5 | 0 | 0
(We paid off in 2.5 years due to upfront payment for SRECs!)
These spreadsheets and more available at http://www.the-mcelroys.com/, with info on financing and incentives
Note: Your numbers if you install today will be different since the local SREC market is depressed
Our systems:
PV Costs
16 PV panels purchased in 2009 | 30000
6 additional panels in 2011 | 9000
Total | 39000
PV Income 2009-2014
Tax credits | 11700
Electricity savings (23 MWh) | 3049.8
SRECS | 5000
Total | 19749.8
I.e. we made 50% on our investment in 5 years!
Same as 9% tax-free investment.
Hot water system costs
Purchase in 2009 | 9000
Total | 9000
Hot water Income 2009-2014
Tax credits | 2700
Natural gas savings | 660
SRECS (includes 10-yr upfront payment) | 9600
Total | 12960
I.e. we more than paid off our system in 3 years!
Our systems:
PV Costs
16 PV panels purchased in 2009 | 30000
6 additional panels in 2011 | 9000
Total | 39000
PV Income 2009-2014
Tax credits | 11700
Electricity savings (23 MWh) | 3049.8
SRECS | 5000
Total | 19749.8
I.e. we made 50% on our investment in 5 years!
Same as 9% tax-free investment.
Hot water system costs
Purchase in 2009 | 9000
Total | 9000
Hot water Income 2009-2014
Tax credits | 2700
Natural gas savings | 660
SRECS (includes 10-yr upfront payment) | 9600
Total | 12960
I.e. we more than paid off our system in 3 years!
Note: Your numbers if you install today will be different since the cost for solar has fallen by a factor of 4, but also the local SREC market is depressed. If you want to have an SREC market to encourage solar installation, get the Virginia Legislature to create a Renewable Portfolio Standard similar to neighboring states.
Note: Your numbers if you install today will be different since the cost for solar has fallen by a factor of 5, but also the local SREC market is depressed. If you want to have an SREC market to encourage solar installation, get the Virginia Legislature to create a Renewable Portfolio Standard similar to neighboring states.

## financing
Links to financing available for solar improvements, tax incentives for residential and business use
http://www.greensolarfinance.com/
http://www.findsolar.com/index.php?page=rightforme&subpage=finance
http://www.solarcity.com/residential/purchase-options.aspx
http://www.solarcity.com/commercial/ | Local installers that may know about financing:
http://www.cleanpowerfinance.com/solar/financing/ | http://www.getsolar.com/profiles/Urban-Grid-Solar-Richmond-VA.php
http://www.thesolarguide.com/solar-energy-systems/financing-incentives.aspx | http://sunflower-solar.dreamhosters.com/financial-incentive
http://www.solsystemscompany.com/solar-lease
http://www.solarpanelsplus.com/solar-financing/
http://www.sunrunhome.com/solar-financing
http://solarfinancing.1bog.org/
http://www.solarmash.com/financing/
http://solarpowerrocks.com/virginia/
http://www.thesolar411.com/financing-available/
http://www.cleanenergyauthority.com/solar-incentives-and-rebates/virginia/virginia-pace-financing/
Federal database of Virginia incentives | http://www.dsireusa.org/incentives/index.cfm?re=1&ee=1&spv=0&st=0&srp=1&state=VA
Federal Incentives | http://www.dsireusa.org/incentives/index.cfm?State=US&ee=0&re=1
Federal Stimulus money | http://www.seia.org/cs/stimulus_implementation_updates
Virginia Commercial and Non-Profit Incentives | http://virginia.globalsolarcenter.com/government-incentives/commercial-incentives/
Federal tax credit or grant for commercial, but not available to non-profits | http://www.dsireusa.org/incentives/incentive.cfm?Incentive_Code=US53F&
http://www.getsolar.com/blog/commercial-solar-federal-grant-option/
For local and state governments
Local government solutions | http://www.nrel.gov/applying_technologies/state_local.html
Incentive for solar manufacturing | http://www.dsireusa.org/incentives/incentive.cfm?Incentive_Code=VA08F&re=1&ee=1
Renewable energy jobs credit | http://www.dsireusa.org/incentives/incentive.cfm?Incentive_Code=VA30F&re=1&ee=1
Loans for efficiency improvements | http://www.dsireusa.org/incentives/incentive.cfm?Incentive_Code=VA14F&re=1&ee=1
Green power challenge | http://www.epa.gov/greenpower/communities/gpcchallenge.htm
Communities that are doing green power | http://www.epa.gov/greenpower/communities/index.htm
Federal grant for rural energy | http://www.dsireusa.org/incentives/incentive.cfm?Incentive_Code=US05F&re=1&ee=1
http://www.dsireusa.org/incentives/incentive.cfm?Incentive_Code=US33F&re=1&ee=1
Tribal energy generation | http://www.dsireusa.org/incentives/incentive.cfm?Incentive_Code=US07F&re=1&ee=1
All these links available at web.me.com/ruthandscott/

## Tour list
Items in and around house on solar tour
Solar PV and hot water from outside
22 PV panels, 215 W each, 4000 W max total, ~25 kWh per day, 5000 kWhr per year
PV makes ~40% power bill, selling SRECs about 60%
Costs and payback period
Solar PV and hot water in attic
Polyethylene glygol in water lines
Two penetrations for hot water, one for PV, show lines
Show hot water meter (x0.3 for kWh)
Each install done in two days
No roof mods
Our hot water uses two 50 gal, usually is just one 80, but wouldn't fit up our stairs
Pre-heat for natural gas hot water
Pre-heats to 160F in summer, 110-120F in winter
Green roof and cistern
Green roof ~$6 per sq ft for mature plants (cheaper for plugs)
Lifetime of 50-75 years is main cost savings
12 varieties of sedum, rock garden plant, drought tolerant, self-selected to 6 varieties
Often used in Europe
Show slide show if time (also can show on-line solar power generation)
5-layer barrier under soil, including thin copper layer to keep roots out of house
Cut A/C bill by ~25% in first month
Can be put on roofs up to 45 degree angle
No maintenance (fertilize once a year)
Cistern holds 3000 gal, feeds hoses, all lawn sprinklers, dock water, soaker hose on roof, and downstairs toilet
Pump in basement gets it to city water pressure for sprinklers
Can yield 80,000 gallon of rainwter per year with normal rainfall (usually don't get that much since we don't use it all in the winter)
Centrigal force filter, needs cleaning ~every 6 months
8' high, 8' dia, can get them buried (slightly more expensive).
Total installed cost roughly $8000
Solar PV inverter (in garage)
Turns DC from panels to AC, feeds it into breaker panel
Very simple, grid-tied, no batteries
No power if grid down
Panels ~50 year life, rated for 150 mph wind, Inverter ~20 yr warranty
Optional
Rain garden
Native plants
Composters
Permeable pavers